## Maintenance Log - Data Version
Maintenance Log - Data Version
Date | Equipment/Asset ID | Location | Maintenance Type | Description of Work Performed | Technician Name | Status th> < th >Next Due Date th >
2023-10-15 | EQ-00456 | Building A, Floor 3, Room 305 | Preventive | Lubrication of motor bearings and belt tension check. | Jane Smith | Pending Review
2023-10-17 | EQ-01893 | Building B, Basement Level 2, HVAC Room | Corrective | Replaced faulty compressor relay due to overheating. | Mike Johnson | Closed
2023-10-19 | EQ-03567 | Building C, Floor 1, Server Closet | Preventive | Cleaned dust filters and inspected cooling fans. | Sarah Lee | Completed
2023-10-25 | EQ-07845 | Building A, Floor 4, Mechanical Room | Emergency Repair | Repaired leaking pipe joint using epoxy sealant. | Tom Harris | Closed
2023-11-01 | EQ-09876 | Building B, Floor 5, Electrical Panel Room | Preventive | Tightened terminal connections and tested circuit integrity. | Lisa Wong | Pending Review