## Maintenance Log - Manager View
Maintenance Log - Manager View
Asset ID | Asset Name | Location | Last Maintenance Date | Scheduled Next Maintenance | Maintenance Type | Status | Technician Assigned(Name & ID)
AS-00123 | Heating Unit A1 | North Wing, Floor 2 | 2024-05-15 | 2024-11-15 | Preventive Maintenance | Completed | Jane Doe / TEC089
AS-04567 | Cooling System B3 | South Facility, Basement | 2024-03-10 | 2024-10-10 | Repair & Inspection | Pending Approval | Mark Lee / TEC234
AS-08901 | Fire Alarm Panel X2 | Main Lobby, Ground Floor | 2024-04-05 | 2024-11-05 | Compliance Check | Completed | Sarah Kim / TEC112
AS-02345 | Elevator E7 | Central Tower, Levels 1–8 | 2024-06-20 | 2025-01-20 | Predictive Maintenance (Sensor-Based) | Overdue | Robert Green / TEC456
AS-06789 | Water Pump P4 | Maintenance Room 3B | 2024-01-30 | 2024-10-30 | Preventive Maintenance | Completed | Lisa White / TEC567
Legend:
Completed– Maintenance successfully finished.
Pending Approval– Work completed, awaiting manager approval.
Overdue– Maintenance was due before today’s date.