## Worksheet
MAINTENANCE LOG - QUARTERLY AUDIT PREPARATION
Q1: January 1 - March 31, [Year]
Asset ID | Equipment Name | Location | Maintenance Type | Date Performed | Technician Name | Status (Completed/Deferred) | Remarks / Findings
EQ-001 | Air Handler Unit #3 | South Wing, Floor 2 | Preventive Maintenance | 2024-01-15 | John Doe | Completed | Cleaned coils; replaced filters; no issues found.
EQ-005 | Backup Generator (150kW) | Utility Basement | Testing & Inspection | 2024-01-30 | Jane Smith | Completed | All systems operational. Fuel levels confirmed.
EQ-012 | Fire Suppression System (HVAC) | Floor 4, Mechanical Room | Inspection & Calibration | 2024-02-10 | Mike Brown | Completed | Sensors calibrated; no faults detected.
EQ-021 | Pump System - Water Tower | Roof Level | Preventive Maintenance | 2024-03-05 | Sarah Wilson | Completed | Lubricated motors; checked seals. No leaks.
EQ-033 | Ventilation Fans - Basement | Bldg Sublevel A | Repair & Rebalance | 2024-03-18 | Daniel Lee | Completed | Fan blade realigned; vibration reduced.
Q2: April 1 - June 30, [Year]
EQ-001 | Air Handler Unit #3 | South Wing, Floor 2 | Preventive Maintenance | 2024-04-12 | John Doe | In Progress (Scheduled) | Maintenance scheduled for Q2 review.
EQ-005 | Backup Generator (150kW) | Utility Basement | Full Load Test | 2024-05-23 | Jane Smith | Scheduled | To be completed by May 31.
EQ-012 | Fire Suppression System (HVAC) | Floor 4, Mechanical Room | System Integrity Check | 2024-06-15 | Maria Garcia | Completed | All sensors tested; system response within tolerance.
Total Maintenance Actions (Q1 & Q2) |  |  |  | 8 completed ¦ 2 scheduled ¦ 0 deferred
Prepared for Audit Review ¦ Date: [Insert Date] ¦ Prepared By: [Name/Department]