## Worksheet
Date | Maintenance Task | Equipment/Asset | Location | Responsible Person | Hours Spent | Estimated Cost (USD) | Status | Notes
01/03/2024 | Routine inspection of HVAC system | HVAC Unit - Main Floor | Building A, Ground Floor | John Smith | 2.5 | 350 | Completed | No issues found; filters replaced.
04/15/2024 | Lubrication of conveyor belt bearings | Conveyor System - West Wing | Warehouse 3 | Maria Garcia | 1 | 200 | Completed | Bearing temperature normal post-lubrication.
06/22/2024 | Calibration of production line sensors | Line 7 Production Equipment | Manufacturing Zone B | David Lee | 3 | 1,200.00 | Completed | Sensors now within 98% accuracy threshold.
08/10/2024 | Electrical panel inspection and grounding check | Main Electrical Panel | Server Room, Roof Access | Lisa Chen | 4 | 850 | Completed | All grounding paths verified and intact.
12/05/2024 | Annual backup generator test | Generator Unit G-9 | Emergency Power Room | Robert Kim | 6 | 1,500.00 | Completed | Generator started successfully and powered test load for 3 hours.