## Worksheet
Equipment ID | Equipment Name | Department | Last Calibration Date | Next Due Date | Status | Compliance Notes(Monthly Review)
EQ-001 | Digital Multimeter Model X200 | Electrical Engineering | 2024-03-15 | 2024-04-15 | Compliant | Calibration performed on time; no deviations.Reviewed: April 5, 2024
EQ-002 | Vacuum Pump Type V7 | Chemical Lab | 2024-03-10 | 2024-04-10 | Compliant | Fully operational, seals inspected.Reviewed: April 7, 2024
EQ-003 | Pressure Sensor PS-550 | Production Floor | 2024-03-18 | 2024-04-18 | Scheduled Maintenance | Pending recalibration; awaiting technician.Reviewed: April 6, 2024
EQ-004 | Thermocouple Array TA-90 | Quality Control | 2024-03-12 | 2024-04-12 | Compliant | No issues detected; data logs verified.Reviewed: April 8, 2024
EQ-005 | Oscilloscope OS-300 | R&D Department | 2024-03-16 | 2024-04-16 | Compliant | Firmware updated; calibration passed.Reviewed: April 9, 2024
EQ-006 | Air Quality Monitor AM-15 | Environmental Safety | 2024-03-14 | 2024-04-14 | Compliant | Sensors clean and calibrated; no alerts.Reviewed: April 10, 2024
EQ-007 | Laser Alignment Tool LAT-88 | Mechanical Engineering | 2024-03-13 | 2024-04-13 | Compliant | Lens alignment confirmed; no drift.Reviewed: April 5, 2024
EQ-008 | Digital Scale DS-1Kg | Lab Services | 2024-03-17 | 2024-04-17 | Scheduled Maintenance | Due for recalibration; calibration kit available.Reviewed: April 6, 2024