## Worksheet
Compliance Tracking - Maintenance Log
Date | Equipment ID | Asset Name | Maintenance Type | Service Provider | Description of Work Performed | Status (Completed/In Progress) | Scheduled Due Date | Next Scheduled Maintenance Date
2024-04-01 | EQ-88765 | Boiler System Unit A | Preventive Maintenance | TechServ Solutions LLC | Inspected pressure valves, cleaned heat exchanger, replaced worn gaskets. | Completed | 2024-05-15 | 2024-11-15
2024-03-30 | EQ-88766 | Air Compressor Bank 3 | Corrective Maintenance | MechanicPro Inc. | Replaced failing motor bearing and realigned drive shaft. | Completed | 2024-06-15 | 2024-12-15
2024-04-03 | EQ-88767 | Emergency Generator G1 | Preventive Maintenance | MetroPower Services | Battery inspection, fuel system flush, load testing. | In Progress (Pending Test Results) | 2024-07-15 | 2025-01-15
2024-03-18 | EQ-88768 | Floor Lift System F-LT5 | Preventive Maintenance | LiftFix Global | Checked cable tension, lubricated guide rails, updated software firmware. | Completed | 2024-06-15 | 2024-12-15
2024-04-08 | EQ-88769 | HVAC Unit H16-B | Corrective Maintenance | ClimateControl Pro Inc. | Replaced faulty compressor and recalibrated thermostat settings. | Completed | 2024-07-15 | 2025-01-15
2024-03-31 | EQ-88770 | Critical Server Rack Cooling System C-SR4 | Preventive Maintenance | DataClima Solutions LLC | Replaced air filters, checked coolant levels, ran diagnostic test. | Completed | 2024-06-30 | 2024-12-31
This report was generated on 2024-04-15. For inquiries, contact Maintenance Compliance Office at compliance@company.com.