## Worksheet
Compliance Tracking - Maintenance Log
Maintenance ID | Equipment/Asset | Location | Maintenance Type | Scheduled Date | Actual Completion Date | Status(Pending/Completed) | Technician Name | Compliance Standard(e.g., ISO, OSHA) | Notes/Remarks
MNT-001 | Fire Extinguisher Unit A1 | Main Facility - Floor 2, Room 205 | Inspection & Pressure Test | 2024-04-15 |  | Pending | James Reed | OSHA 1910.157, NFPA 10 | Verification required after inspection.
MNT-002 | Air Conditioning System - Zone C | Server Room, Basement Level 1 | Preventive Maintenance | 2024-04-18 |  | Completed | Sarah Kim | ASHRAE 189.1, EPA Guidelines | Fan blades cleaned; filters replaced.
MNT-003 | Emergency Lighting - Stairwell B | North Wing, Upper Level | Functional Test & Battery Check | 2024-04-17 | 2024-04-17 | Completed | Robert Lin | NFPA 101, IBC 2021 Code | All units passed; batteries replaced per schedule.
Next Scheduled Maintenance Events (Next 30 Days)
MNT-004 | Generator Set - Backup Power | Utility Basement, Generator Room | Full Load Test & Fuel Inspection | 2024-05-01 |  | Pending | Linda Perez | ISO 8528, UL 1741 | Test scheduled for full system activation.
© 2024 Compliance Management Division ¦ Generated on: