## Worksheet
QUARTERLY MAINTENANCE LOG - COMPLIANCE TRACKING
Item ID | Equipment/Asset Name | Location | Maintenance Type | Last Maintenance Date | Scheduled Next Due Date | Status (Compliant/Non-Compliant) | Maintenance Technician | Notes/Remarks
EQ-001 | Fire Extinguisher - Aisle 1 | Main Warehouse, Floor 2 | Inspection & Pressure Test | 2024-03-15 | 2024-06-15 | Compliant | Jane Doe | Test passed, seal intact.
EQ-002 | Elevator System - Bldg A | Main Entrance Level | Full Mechanical Inspection | 2024-01-10 | 2024-04-10 | Compliant | John Smith | Safety sensors calibrated.
EQ-003 | Emergency Lighting - Corridor B | Floor 3, West Wing | Battery Check & Test | 2024-02-28 | 2024-05-31 | Compliant | Sarah Wilson | All units functional.
EQ-004 | Gas Detector - Lab 5 | Research Wing, Room 501 | Sensor Calibration & Functional Test | 2024-03-21 | 2024-06-21 | Compliant | Michael Brown | No alarms during test.
EQ-005 | Floor Cleaning Machine - Storage Room 3 | Maintenance Annex, East Wing | Filter Replacement & Lubrication | 2024-01-17 | 2024-04-17 | Non-Compliant | Lisa Chen | Filter replacement overdue. Scheduled for 2024-05-15.
Report Period: Q2 2024 (April 1, 2024 – June 30, 2024)
Prepared by: Compliance & Safety Office ¦ Approved by: Facility Manager