## Worksheet
Compliance Tracking - Shopping List (Detailed)
Item ID | Description | Category | Required Quantity | Unit of Measure | Status (Yes/No) | Last Updated ByDate & Time
CL001 | PPE Safety Glasses - ANSI Z87.1 Certified | Personal Protective Equipment (PPE) | 50 | Units | Yes
Compliance Notes:
All safety glasses must be inspected monthly. Replacement order placed on 2024-03-15.
CL002 | Fire Extinguisher - 5 lb ABC Type | Safety Equipment | 8 | Units | Yes
Compliance Notes:
Extinguishers serviced on 2024-03-01. Tag shows next service due: 2025-03-01.
CL003 | Emergency Eyewash Station - Flush Duration ≥ 15 min | Safety Equipment | 4 | No
Compliance Notes:
Unit 3 not installed. Scheduled installation date: 2024-04-10. Per OSHA 1910.145.
CL004 | First Aid Kit - Standard Medical Supplies | Yes
Compliance Notes:
Kits inspected and restocked on 2024-03-18. All items within expiration.
CL005 | OSHA Compliance Manual - 2024 Edition | Yes
Compliance Notes:
Available in all department offices. Digital copy accessible on company intranet.
CL006 | Gas Detector - Multi-Gas (O2, H2S, CO) | Yes
Compliance Notes:
Calibration due 2024-05-15. Last calibration performed on 2024-01-15.
CL007 | Fire Alarm System Control Panel - Fully Functional | No
Compliance Notes:
System failed test on 2024-03-10. Vendor scheduled repair for 2024-03-25.
Generated on2024-03-18¦ Version 1.2 ¦ Prepared by Compliance Department