## Worksheet
Date | Equipment/Asset | Maintenance Type | Description | Estimated Cost ($) | Actual Cost ($) | Variance ($) | Approved By | Status
2024-04-01 | Server Rack A | Preventive | Firmware update and dust cleaning | 150 | 145.5 | 4.5 | Jane Smith | Completed
2024-04-05 | Printing System 3 | Corrective | Toner replacement due to low output | 85 | 85 | 0 | Michael Brown | Completed
2024-04-10 | HVAC Unit B | Preventive | Filtration inspection and filter change | 250 | 265.75 | -15.75 | Sarah Lee | Completed
2024-04-15 | Workstation 7C | Corrective | Hard drive failure repair | 300 | 312.5 | -12.5 | David Chen | Pending Approval
2024-04-20 | Fire Alarm Panel | Preventive | Battery test and system calibration | 120 | 118 | 2 | Linda Wong | Completed
Total Expenses: |  |  |  | $1,035.50 | $1,026.75 | +$8.75 (within budget)