## Maintenance Log
Maintenance Log - Data Collection
Date | Asset ID | Equipment Name | Maintenance Type | Description of Work Performed | Technician Name | Status
2023-10-01 | ASSET-001 | Generator Unit A | Preventive | Checked oil levels, replaced air filter, inspected belts. | Jane Smith | Completed
2023-10-05 | ASSET-005 | Pump System 3B | Corrective | Replaced faulty motor bearing, recalibrated flow sensor. | John Doe | In Progress
2023-10-10 | ASSET-012 | HVAC Unit 7C | Preventive | Cleaned coils, checked refrigerant levels, tested thermostat. | Alice Johnson | Completed
Note:This is a one-page maintenance log template for data collection purposes. Fill in details as needed.