## Worksheet
Home Maintenance Log - Office Use
Date | Area/Equipment | Maintenance Type | Description of Work | Technician Name | Status
2023-10-05 | Heating System (Furnace) | Preventive Maintenance | Replaced air filter, cleaned burners, checked thermostat calibration. | Jane Smith | Completed
2023-10-10 | Roof (Shingles) | Inspection & Repair | Damaged shingle replaced; inspected flashing around chimney. | Robert Lee | In Progress
2023-10-15 | Plumbing (Kitchen Sink) | Repair | Fixed leaky faucet; replaced O-ring. | Maria Gonzalez | Completed
2023-10-20 | Air Conditioning Unit | Preventive Maintenance | Checked refrigerant levels, cleaned condenser coils. | Daniel Park | Pending Approval
2023-10-25 | Garage Door System | Inspection & Lubrication | Lubricated tracks and hinges; tested safety sensors. | Sarah Johnson | Completed