## Worksheet
Annual Home Management Project Timeline
Quarter | Month | Project Task | Description | Status | Responsible Person
Q1 | January | Home Inspection & Maintenance Planning | Inspect all systems (plumbing, HVAC, electrical) and create annual maintenance checklist. | In Progress | Jane Doe
| February | Plumbing System Checkup | Flush water heater, check for leaks, clean drains and inspect pipes. | Pending | John Smith
| March | HVAC Maintenance & Filter Replacement | Schedule professional HVAC service and replace air filters. | Pending | Mike Johnson
Q2: Spring Home Care & Upgrades
Q2 | April | Landscaping & Exterior Cleaning | Clean gutters, trim shrubs, pressure wash driveway and siding. | Pending | Sarah Wilson
| May | Paint Interior & Exterior Touch-Ups | Repair and repaint chipped or faded areas inside and outside. | Pending | Jane Doe
| June | Outdoor Furniture & Deck Maintenance | Clean deck, seal wood, inspect furniture for damage. | Pending | Mike Johnson
Q3: Summer Home Upkeep & Efficiency
Q3 | July | Seasonal Appliance Checkup | Inspect refrigerator, washer, dryer for efficiency and safety. | Pending | John Smith
| August | Solar Panel & Energy Audit | Evaluate solar system performance and conduct home energy audit. | Pending | Sarah Wilson
| September | Window & Door Weatherstripping Check | Inspect seals, replace if needed to improve insulation. | Pending | Jane Doe
Q4: Year-End Review & Preparation for Winter
Q4 | October | Fireplace & Chimney Inspection | Schedule professional chimney sweep and safety check. | Pending | Mike Johnson
| November | Heating System Winter Readiness Check | Clean furnace, test thermostat, ensure proper ventilation. | Pending | John Smith
| December | Annual Home Review & Budget Report | Evaluate all maintenance costs and plan next year’s budget. | Pending | Sarah Wilson
This template is designed for annual home management planning and can be adapted to individual household needs.