## Worksheet
Maintenance Log
Purpose: KPI Monitoring ¦ Template Type: Maintenance Log ¦ Style/Version: Small Business
Date | Equipment/Asset | Location | Maintenance Type | Description of Work | Technician Name | Status (KPI)
2024-01-15 | Water Pump Unit A | Main Facility, Zone 3 | Preventive Maintenance | Replaced seals, inspected valves and pressure gauge. | Sarah Johnson | Completed - On Time
2024-01-16 | Backup Generator B | Emergency Power Room | Inspection & Test Run | Cleaned fuel filter, tested 30-min runtime under load. | Mike Chen | Completed - Slight Delay
2024-01-18 | Air Compressor C | Production Line 2 | Repair Service | Fixed air leak in hose connection and replaced regulator. | Lisa Rodriguez | Completed - On Time
2024-01-20 | Conveyor Belt System D | Packaging Area | Preventive Maintenance | Lubricated rollers, checked alignment and belt tension. | James Wilson | Completed - On Time
2024-01-23 | Cooling Fan Array E | Server Room 1 | Emergency Repair | Replaced failed motor; system restored after 4-hour downtime. | Sarah Johnson | Completed - Delayed (Urgent)