## Worksheet
DAILY MAINTENANCE LOG
Date | Area/Equipment | Issue Description | Action Taken | Maintainer/Technician
2023-10-05 | Main Office Server Room | Server room temperature slightly elevated (78°F) | Checked HVAC system, cleaned air filters, adjusted thermostat to 72°F | John Smith
2023-10-05 | Conference Room A | Projector not responding to remote control | Replaced batteries in remote, reset projector power cycle. Functioning normally. | Emily Davis
2023-10-05 | Kitchen Area | Microwave emits burning smell when operating | Disconnected unit, inspected for debris. Cleaned interior and replaced faulty fan motor. | Robert Johnson
2023-10-05 | Restroom 2 (Men's) | Toilet continuously running after flush | Replaced flapper valve. Flush cycle now normal. | Michael Brown
2023-10-05 | Main Floor Corridor | Motion sensor light in hallway not activating at night | Replaced motion sensor module and recalibrated detection sensitivity. | Sarah Wilson
Maintenance activities logged for daily review. All issues resolved or reported.