## Worksheet
Maintenance Log - Office Management
Extended Version ¦ Department: Facility & Operations ¦ Period: January 2024 – December 2024
ID | Date Reported | Equipment/Asset ID | Location | Description of Issue | Prioritization Level th>< th > Assigned Technician th > < th > Status th > < th > Date Completed th > < th > Notes / Resolution Summary 1148 >
ML-001 | 2024-03-15 | EQ-7896 | Conference Room A, 3rd Floor | A/C unit not cooling properly; intermittent fan noise. | High | John Smith (Tech ID: T0045) | Resolved | 2024-03-17 | Fan motor replaced; refrigerant levels adjusted. Unit restored to full function.
ML-002 | 2024-04-11 | EQ-8932 | IT Server Room, Basement Level | Server rack cooling fan failure. | Urgent | Sarah Lee (Tech ID: T0127) | Resolved | 2024-04-13 | New fan module installed. Temperature monitoring confirmed stable.
ML-003 | 2024-05-19 | EQ-4561 | Printing Center, 2nd Floor | Jammed paper feed; printer offline. | Medium | Mark Johnson (Tech ID: T0089) | In Progress | - | Disassembled feeder mechanism. Replaced worn roller belt. Testing underway.
ML-004 | 2024-06-23 | EQ-1128 | Main Lobby, Ground Floor | Flickering ceiling lights; intermittent power. | Medium | Linda Chen (Tech ID: T0174) | Pending Approval | - | Electrical inspection scheduled for next week. Replacing outdated wiring.
Generated on: 2024-07-15 ¦ Prepared by: Facilities Department ¦ Version: 2.3 (Extended)