## Worksheet
Date | Task Description | Assigned To | Status | Completion Time (hrs) | Notes/Remarks
2024-04-05 | Calibration of HVAC system | John Smith | Completed | 2.5 | No issues observed; system now operating within tolerance.
2024-04-06 | Inspect electrical panels | Sarah Lee | In Progress | 1 | One relay showing signs of overheating.
2024-04-07 | Replace filters in air handling units | Michael Chen | Completed | 1.5 | All filters replaced; airflow improved.
2024-04-08 | Perform safety audit of equipment | Lisa Rodriguez | Pending | - | Scheduled for next week; will review compliance reports.
Maintenance Log – Team Use ¦ Performance Tracking