## Maintenance Log - Monthly
Maintenance Log - Monthly
Date | Equipment/Asset Name | Location | Maintenance Type | Description of Work Performed | Technician Name | Status (Completed/On Hold/Pending)
2023-04-05 | Pump Unit A-7 | North Storage Facility | Preventive Maintenance | Lubrication, filter replacement, and pressure test. | Jane Smith | Completed
2023-04-10 | Generator G3 | Backup Power Room | Cleaning & Inspection | Dust removal, visual inspection, and fuel level check. | Mike Johnson | Completed
2023-04-18 | HVAC System 4B | Main Office Wing | Repair | Replaced faulty thermostat and recalibrated settings. | Sarah Lee | Pending
2023-04-25 | Fan Blower F9 | Roof Level HVAC Station | Preventive Maintenance | Cleaned blades, checked belt tension, and tested motor operation. | David Brown | Completed
2023-04-30 | Piping Valve V11 | Utility Room B | Emergency Repair | Replaced leaking gasket and pressure tested connection. | Lisa White | On Hold (awaiting parts)
Prepared by: [User Name]
Date Prepared: April 5, 2023