## Worksheet
Log ID | Date | Equipment/Asset | Maintenance Type | Description | Technician Name | Status | Next Scheduled Date | Hours/Units Used Since Last Maintenance | Notes/Attachments
ML-001 | 2024-06-15 | High-Performance Centrifuge Model X7 | Preventive | Lubrication of motor bearings and calibration check. | Jane Doe | Completed | 2024-12-15 | 876 hrs | View Attachment.pdf
ML-002 | 2024-07-18 | PCR Thermal Cycler 4.1 | Corrective | Replacement of faulty heating element and software update. | John Smith | Completed | 2025-01-18 | N/A | Repair Report.pdf
ML-003 | 2024-11-30 | Flow Cytometer F8 Series | Preventive | Clean optical sensors, verify fluidic lines, recalibrate laser alignment. | Alex Johnson | <Pending | 2025-05-30 | 1456 hrs | Pending Inspection Report.docx
Total Maintenance Records Logged: 3