## Worksheet
Entry ID | Date | Asset Name | Location | Maintenance Type | Description | Performed By | Status | Cost ($) | Next Due Date
001 | 2023-08-15 | PCR Machine A | Laboratory 3B | Preventive | Cleaned internal components and calibrated temperature sensors. | Jane Doe | <Completed | 120.5 | 2024-02-15
002 | 2023-10-03 | Centrifuge 7X | Laboratory 5A | Corrective | Replaced faulty rotor assembly and rebalanced motor. | John Smith | <Completed | 340 | 2024-04-15
003 | 2023-11-28 | Analytical Balance B | Chemistry Lab 1A | Preventive < | Cleaned calibration weights, verified accuracy with certified standards. | Alex Rivera | <Pending | 85 | 2024-05-28