## Worksheet
Date | Asset ID | Equipment Name | Maintenance Type | Scheduled Time | Actual Time | Work Order No. | Technician Name | Description | Status | Notes
2024-04-05 | MTE-101 | Main Pump Unit A | Preventive | 09:00 | 09:35 | WO-2024-156 | John Smith | Lubrication and inspection of bearings. | Completed
2024-04-10 | MTE-105 | Cooling Tower Fan | Corrective | 14:00 | 15:20 | WO-2024-167 | Lisa Chen | Replaced motor due to overheating. | Completed
2024-04-15 | MTE-203 | Control Valve System | Preventive | 10:30 | 11:15 | WO-2024-189 | Mike Rodriguez | Calibrated sensors and checked response time. | Completed
2024-04-20 | MTE-301 | Compressor Unit | Scheduled Inspection | 16:00 | - | WO-2024-201 | Sarah Kim | Pending inspection; scheduled for next week. | Pending