## Worksheet
Date | Asset/Equipment | Risk Identified | Risk Level (Low/Medium/High/Critical) | Potential Impact | Mitigation Strategy | Responsible Party | Completion Date | Status (Open/Resolved)
2024-03-15 | Server Room HVAC Unit | Failure to maintain temperature control | High | System downtime and equipment damage | Install automated temperature monitoring and schedule bi-weekly maintenance. | Facilities Manager | 2024-04-15 | Open
2024-03-20 | Production Line Conveyor Belt | Foreign object entrapment hazard | Critical | Worker injury or equipment damage | Install safety guards and implement lockout/tagout procedures. | Maintenance Supervisor | 2024-04-10 | Resolved
2024-03-25 | Warehouse Storage Racks | Structural instability due to overloading | Medium | Potential for collapse and injury | Conduct load assessment and reposition heavy items. | Operations Manager | 2024-04-05 | Open
2024-03-30 | Fire Suppression System | Outdated pressure sensors | High | Potential fire spread in event of emergency | Replace sensors and perform full system calibration. | Security & Safety Officer | 2024-04-20 | Open