## Worksheet
Date | Asset Name | Location | Maintenance Type | Risk Identified | Mitigation Action | Responsible Team Member | Status | Next Review Date
2024-03-15 | Server Room A | Building 3, Floor 2 | Preventive Maintenance | Overheating risk due to poor ventilation | Install additional cooling units and monitor temperature daily | Jane Smith | Completed | 2024-06-15
2024-04-03 | Production Line 5 | Manufacturing Zone B | Corrective Maintenance | Equipment failure leading to production downtime | Replace motor and implement preventive checks every two weeks | Marcus Lee | In Progress | 2024-05-03
2024-05-10 | Warehouse Cooling System | West Wing, Warehouse 7 | Preventive Maintenance | Faulty sensors causing inefficient temperature control | Calibrate sensors and conduct monthly audits | Sophia Kim | Completed | 2024-08-10