## Worksheet
Date | Maintenance Task | Location | Responsible Person | Risk Identified | Mitigation Strategy | Status (Completed/In Progress/Pending) | Notes
2024-04-01 | Quarterly inspection of HVAC system | Building A, Ground Floor | Jane Smith | Malfunction risk due to outdated sensors | Replace sensors and conduct calibration | Completed | No adverse incidents reported.
2024-04-03 | Electrical panel check | Main Server Room | Mark Johnson | Overheating risk under load | Install additional cooling fans and monitor temperature logs | In Progress | Fan installation scheduled for next week.
2024-04-05 | Fire suppression system test | <Warehouse B | Lisa Chen | Faulty activation signal detected | Replace control module and retest system | Pending | Waiting for parts delivery.