## Worksheet
Task ID | Task Name | Scheduled Date | Due Date | Priority | Status | Assigned To | Location | Remarks
M-001 | Monthly Server Backup | 2024-04-05 | 2024-04-30 | Medium | Completed | John Smith | Data Center A | Backup verified; stored in encrypted vault.
M-002 | Network Cable Inspection | 2024-04-10 | 2024-05-15 | High | Pending | Sarah Lee | Floor 3, East Wing | Inspect all cables in server room.
M-003 | UPS System Test | 2024-04-15 | 2024-04-18 | Critical | In Progress | Mike Chen | Main Server Room | Test duration 2 hours; monitor load.
M-004 | Fire Suppression System Check | 2024-04-25 | 2024-05-01 | High | Scheduled | Linda Wang | Building B, Roof Access | Verify alarm sensitivity and pressure.