## Worksheet
Task ID | Task Description | Scheduled Date | Due Date | Assigned To | Priority Level | Status | Maintenance Type | Location | Remarks
M-2024-001 | Lubrication of Conveyor Belt System | 2024-03-15 | 2024-03-20 | John Smith | Medium | Planned | Routine Maintenance | Warehouse Zone B | Check all lubrication points; ensure no leaks.
M-2024-002 | Calibration of Temperature Sensors | 2024-03-18 | 2024-03-25 | Lisa Chen | High | Pending | Predictive Maintenance | Processing Area C | Verify sensor readings against baseline.
M-2024-003 | Battery Inspection in Backup System | 2024-03-21 | 2024-03-28 | Mark Williams | High | On Schedule | Safety Maintenance | Server Room 1 | Replace any battery with voltage below 12.5V.
M-2024-004 | Filter Replacement in HVAC System | 2024-03-16 | 2024-03-21 | Sarah Patel | Medium | Completed | Routine Maintenance | Main Office Floor 3 | All filters replaced; record in log.