## Worksheet
Task ID | Task Description | Scheduled Date | Assigned To | Priority Level | Due Date | Status | Maintenance Type | Location | Notes
MT-2024-001 | Monthly HVAC Filter Replacement | 2024-03-15 | John Smith | Medium | 2024-04-15 | Scheduled | Preventive | Building A, Floor 3 | Ensure filters are replaced before airflow efficiency drops below 85%
MT-2024-002 | Annual Electrical System Inspection | 2024-05-10 | Lisa Chen | High | 2024-06-10 | Pending | Comprehensive | Main Server Room | Must include load testing and grounding check
MT-2024-003 | Water Pump Maintenance | 2024-04-30 | Mark Turner | Medium | 2024-05-30 | In Progress | Corrective | West Wing, Basement | Replace worn impeller and clean internal components
MT-2024-004 | Fire Alarm System Calibration | 2024-06-15 | Sarah Lee | High | 2024-07-15 | Scheduled | Preventive | All Floors, Hallway Entry Points | Verify response time within 3 seconds of trigger
MT-2024-005 | Window Seal Replacement | 2024-07-05 | David Kim | Low | 2024-08-05 | Planned | Preventive | Building B, East Wing | Replace seals on 15 windows to reduce energy loss