## Worksheet
Date | Task | Assigned To | Status | Duration (hrs) | Remarks
2024-04-01 | Inspection of HVAC system | John Smith | Completed | 3.5 | No abnormalities detected; filters replaced.
2024-04-03 | Review of maintenance schedule | Anna Lee | In Progress | 1.5 | Updated quarterly plan with priority adjustments.
2024-04-05 | Check of electrical panels | Marcus Reed | Completed | 2 | All circuits within safe operating range.
2024-04-07 | Calibration of temperature sensors | Sophia Kim | Completed | 1.8 | Accuracy within ±0.5°C.
2024-04-09 | Preliminary audit of workflow process | James Wilson | Not Started | - | Preparation phase; timeline to be finalized.
Total Tasks Completed |  |  | 3 | 9.8