## Worksheet
Date | Task Description | Assigned To | Status | Priority | Completion Time (HH:MM) | Remarks
2024-04-05 | Inspect HVAC system for efficiency | John Smith | In Progress | High |  | Fan belt shows signs of wear; scheduled replacement.
2024-04-06 | Calibrate temperature sensors | Sarah Lee | Completed | Medium | 02:30 | All sensors within tolerance range.
2024-04-07 | Review maintenance schedule for Q2 | David Kim | Pending | Low |  | Draft updated schedule under review.
2024-04-08 | Replace air filters in all units | Linda Wong | Scheduled | High |  | Filters due quarterly; this is the next cycle.