# Experiment Protocol: Soil and Structural Analysis for Civil Engineering in Dhaka, Bangladesh

# Experiment Protocol: Geotechnical and Structural Integrity Assessment

Target Location: Dhaka, Bangladesh

Target Profession: Civil Engineer

Document ID: BD-DH-CE-2023-001

Date: October 26, 2023

## 1. Introduction and Objective

This Experiment Protocol is designed specifically for the Civil Engineer operating within the complex urban and geological landscape of Bangladesh Dhaka. The rapid urbanization of Dhaka, characterized by high-rise construction and dense population centers, necessitates rigorous adherence to engineering standards. The primary objective of this protocol is to establish a standardized procedure for conducting soil bearing capacity tests and concrete compressive strength analyses.

Given the unique soil conditions in Dhaka—often consisting of soft alluvial clay and high water tables—this protocol ensures that the Civil Engineer can accurately assess foundation stability. Failure to adhere to this protocol may result in structural failure, posing significant risks to public safety in the metropolitan area.

## 2. Scope and Applicability

This protocol applies to all residential, commercial, and industrial construction projects within the Dhaka City Corporation limits. It is mandatory for the Civil Engineer to utilize these procedures when:

- Conducting preliminary site investigations for new high-rise structures.

- Assessing the stability of existing structures in flood-prone areas of Dhaka.

- Verifying the quality of concrete mixes used in load-bearing columns and slabs.

## 3. Safety and Environmental Precautions

Safety is paramount for the Civil Engineer and the construction crew. In the context of Bangladesh Dhaka, specific environmental and safety factors must be considered.

WARNING: Dhaka experiences heavy monsoon rains and high humidity. Ensure all electrical equipment used during experiments is waterproofed and grounded.

- Personal Protective Equipment (PPE): All personnel must wear hard hats, safety boots, high-visibility vests, and gloves.

- Site Security: Due to traffic congestion and pedestrian density in Dhaka, the testing area must be cordoned off with warning tape and signage.

- Waste Disposal: Chemical waste from soil testing must be disposed of according to the Bangladesh Environment Conservation Rules.

## 4. Required Equipment and Materials

The Civil Engineer must ensure the following calibrated equipment is available on-site in Dhaka before commencing the experiment:

| Item | Specification | Quantity |
| --- | --- | --- |
| Standard Penetration Test (SPT) Hammer | 63.5 kg mass, 760 mm drop | 1 |
| Soil Sampler | Split spoon sampler | 2 |
| Concrete Cube Molds | 150mm x 150mm x 150mm | 12 |
| Universal Testing Machine (UTM) | Capacity: 2000 kN | 1 |
| Moisture Content Oven | Temperature range: 105°C - 110°C | 1 |

## 5. Experimental Procedure

### 5.1 Phase I: Geotechnical Soil Investigation

The soil in Bangladesh Dhaka is predominantly soft clay with varying layers of sand and silt. The Civil Engineer must perform the following steps to determine the Standard Penetration Resistance (N-value).

- Site Preparation: Clear the area of debris and ensure the ground is level. Mark the borehole locations based on the structural plan.

- Borehole Drilling: Drill the borehole to a depth of at least 15 meters, or until hard strata is encountered. Use rotary drilling methods suitable for Dhaka's clayey soil.

- Sampling: Insert the split spoon sampler at 1.5-meter intervals. Drive the sampler using the SPT hammer.

- Recording N-Values: Count the number of blows required to drive the sampler the last 300 mm. Record this as the N-value. This data is critical for the Civil Engineer to design pile foundations.

- Water Table Observation: Record the depth of the groundwater. In Dhaka, the water table is often shallow, which affects foundation design.

### 5.2 Phase II: Concrete Compressive Strength Test

To ensure the durability of structures against Dhaka's humid climate and potential seismic activity, the Civil Engineer must verify concrete quality.

- Sample Collection: Collect concrete samples from the mixer truck or batching plant immediately upon arrival at the site.

- Molding: Fill the 150mm cube molds in three layers. Compact each layer with 25 rod strokes to remove air bubbles.

- Curing: Store the molds in a moist environment at a temperature of 27°C ± 2°C for 24 hours. After demolding, submerge the cubes in water until the testing date (7, 14, and 28 days).

- Testing: Place the cube in the Universal Testing Machine. Apply load at a rate of 140 kg/cm² per minute until failure.

- Calculation: Calculate the compressive strength using the formula: Strength = Maximum Load / Cross-sectional Area.

## 6. Data Analysis and Reporting

The Civil Engineer must compile all data into a comprehensive report. This report should include:

- A detailed borehole log showing soil strata and N-values.

- Graphs illustrating the relationship between depth and soil resistance.

- Concrete strength test results compared against the design mix (e.g., M25, M30).

- Recommendations for foundation type (e.g., raft foundation, pile foundation) based on the specific conditions of the site in Bangladesh Dhaka.

## 7. Conclusion

Adherence to this Experiment Protocol is essential for the Civil Engineer to ensure the safety and longevity of infrastructure in Bangladesh Dhaka. By systematically analyzing soil properties and concrete strength, engineers can mitigate risks associated with the region's challenging geological and environmental conditions. This protocol serves as a baseline for quality assurance and must be updated regularly to reflect new building codes and technological advancements.