# Internship Report: Biomedical Engineering in Nigeria, Lagos

# Internship Report

Name:[Intern Name]
Degree Program:B.Sc. Biomedical Engineering
Host Organization:Lagos University Teaching Hospital (LUTH)

Location:Nigeria, Lagos
Date of Internship:June 1st, 2023 – August 30th,2023

## 1. Executive Summary

This Internship Report outlines the practical experiences, technical skills acquired, and professional observations gained during a three-month industrial attachment as a prospective Biomedical Engineer. The internship was conducted in Nigeria’s commercial hub,Lagos specifically at one of its major tertiary healthcare institutions. In the bustling metropolis of Lagos,the demand for reliable medical technology is higher than ever, yet the sector faces unique infrastructural and logistical challenges. This report details how I navigated these complexities, applying theoretical knowledge from my academic curriculum to real-world scenarios within the dynamic environment of Nigeria,Lagos. The primary objective was to bridge the gap between classroom engineering principles and clinical practice, contributing effectively to hospital operations while learning from seasoned professionals.

## 2. Introduction and Background

Biomedical Engineering (BME) is a discipline that merges engineering principles with medical and biological sciences to design and create equipment,devices,circuits,and software used in healthcare. For any aspiring BioMedicai Engineer,hands-on experience is crucial for understanding the lifecycle of medical devices, from procurement and installation to maintenance and decommissioning. Lagos,Nigeria presents a unique case study for biomedical engineering due its dense population,high volume of patient admissions,and varying standards of healthcare infrastructure. The city serves as the economic nerve center of West Africa, meaning that hospitals in Nigeria,Lagos often serve not only locals but also patients from neighboring regions. Consequently,the workload on medical equipment is intense. This internship provided a rare opportunity to observe how BioMedicai Engineers manage high-pressure environments where downtime can literally mean loss of life.

## 3. Objectives of the Internship

The specific objectives for this Internship Report's practical component were:

- To gain proficiency in preventive maintenance schedules for diagnostic imaging equipment such as X-ray and Ultrasound machines.

- To understand the procurement and quality assurance processes for medical devices within a Nigerian public hospital setting.

- To develop troubleshooting skills for critical care units, including ventilators, patient monitors, and infusion pumps.

- To observe the regulatory framework governing medical device safety in Nigeria,Lagos,and ensure compliance with NAFDAC (National Agency for Food and Drug Administration and Control) standards.

## 4. Methodology and Daily Activities

My role as an intern under the supervision of the Chief Biomedical Engineer involved a mix of shadowing experienced technicians, performing routine checks, and assisting in complex repairs. Preventive Maintenance (PM): A significant portion of my time was dedicated to PM activities. In Nigeria,Lagos,power instability can damage sensitive electronics. I learned to inspect uninterruptible power supplies (UPS) and voltage stabilizers attached to MRI and CT scan units. We conducted thermal imaging scans on circuit boards to detect overheating components before they failed completely.This proactive approach reduced emergency breakdowns by approximately 15% in the department I worked in during my tenure. Corrective Maintenance: When equipment broke down, I assisted senior engineers in diagnostics. One notable task involved repairing a malfunctioning hematology analyzer in the pathology lab. By systematically checking fluidics and optics, we identified a clogged nozzle which caused inaccurate blood cell counts. Cleaning and recalibrating the system restored functionality.This experience highlighted the importance of meticulous attention to detail for any BioMedicai Engineer. Inventory Management: We audited spare parts inventory. Many medical devices in Lagos rely on imported parts, which can take weeks or even months to arrive due to customs delays at the Apapa port. I helped categorize critical spares versus non-critical ones to prioritize repairs when supplies were limited.This logistical challenge is specific to operating in Nigeria,Lagos.

## 5. Key Challenges and Solutions

Working as a BioMedicai Engineer in this region comes with distinct hurdles:

- Ambient Conditions:The high humidity and temperature in Lagos can accelerate corrosion of electronic contacts. We implemented stricter environmental controls, including dehumidifiers in server rooms housing patient data systems.

- Skill Gap:There is often a mismatch between academic training and industry needs. I found myself needing to learn specific proprietary software for certain machines quickly. I addressed this by creating a personal knowledge base and seeking mentorship from vendors' representatives who visited the hospital in Nigeria,Lagos.

- Funding Constraints:Budget limitations often mean delaying upgrades. I suggested implementing a "repair-first" culture where older but functional devices are refurbished rather than replaced, optimizing resource allocation.

## 6. Learning Outcomes and Professional Growth

This internship significantly enhanced my technical competency and soft skills. Technically,I became proficient in using multimeters, oscilloscopes,and specialized diagnostic tools for medical devices. I gained a deeper understanding of electrical safety standards, such as IEC 60601, which is vital for protecting patients from electric shock. Professionally,the internship taught me the value of communication.BioMedicai Engineers must speak two languages: engineering and clinical care. Explaining to a doctor why an X-ray machine is offline requires clarity and empathy. Furthermore,working in Nigeria,Lagos,a multicultural city,I learned to collaborate with diverse teams, respecting different perspectives while maintaining high professional standards. The experience also fostered resilience. When faced with unexpected breakdowns during night shifts,a key requirement for ensuring 24/7 hospital operation in Nigeria,Lagos,I learned to stay calm under pressure and prioritize tasks effectively based on patient urgency.

## 7. Conclusion

In conclusion,this internship has been a transformative experience that solidified my passion for biomedical engineering.The challenges encountered in the vibrant,fast-paced environment of Nigeria,Lagos have prepared me to be a versatile and adaptable engineer. The skills gained—from preventive maintenance protocols to emergency troubleshooting—are directly applicable to future roles in both public and private healthcare sectors. The intersection of technology and healthcare in Nigeria,Lagos offers immense potential for innovation. As the healthcare infrastructure continues to evolve, there is a critical need for dedicated BioMedicai Engineers who understand local constraints and can leverage global technologies effectively.This report serves as a testament to my commitment to contributing to this vital field, ensuring that medical technology in Lagos functions reliably to save lives and improve patient outcomes.

## 8. Recommendations

Based on my observations,I recommend:

- Increasing partnerships between universities in Lagos and hospital engineering departments to provide more structured internship programs.

- Investing in localized training centers for biomedical engineering technicians to reduce reliance on foreign experts.

- Advocating for stronger policy enforcement on medical device quality control at the port entry points in Nigeria,Lagos, to prevent substandard equipment from entering hospitals.

End of Internship Report Document