# Internship Report: Electrical Engineering in DR Congo, Kinshasa

# Internship Report

Degree in Electrical Engineering
Mandatory Industrial Internship Program

Firm: Société Nationale d'Électricité (SNEL)
Location: Kinshasa, Democratic Republic of Congo
Submitted in partial fulfillment of the requirements for the Bachelor’s Degree

Date: October 24, 2023

# I. Executive Summary

This document serves as a comprehensive Internship Report detailing my practical training period as an Electrical Engineer intern within the Democratic Republic of Congo, specifically in the capital city of Kinshasa. The internship was conducted under the supervision of technical experts at major infrastructure entities operating in this dynamic urban center. The primary objective was to bridge the gap between theoretical academic knowledge acquired during university studies and the practical realities of power distribution, maintenance, and grid management in an emerging market context.

Kinshasa presents a unique challenge for Electrical Engineers due to its rapid population growth, aging infrastructure, and fluctuating energy demands. This report outlines the technical tasks performed, challenges encountered regarding electrical safety and load balancing in DR Congo Kinshasa environments, and the professional skills developed during this transformative experience.

# II. Introduction: Context of the Internship

The choice to pursue an internship as an Electrical Engineer in DR Congo Kinshasa was driven by the critical need for modernization in Africa’s largest Francophone city. The local power grid, managed largely by national entities, faces significant hurdles including high technical losses, theft of electricity, and infrastructure degradation. As such, the role of a competent Electrical Engineer is not merely about theoretical design but involves practical troubleshooting and sustainable maintenance strategies.

During this internship period in DR Congo Kinshasa I was assigned to the Maintenance Division responsible for medium-voltage distribution networks. The goal was to observe and participate in daily operations, ensuring that safety protocols were strictly adhered to while contributing to the efficiency of power delivery systems.

# III. Technical Activities and Responsibilities

### A. Inspection of Medium Voltage Networks

A significant portion of my time as an Electrical Engineer was dedicated to field inspections along the medium voltage lines crossing the Gombe and Lingwala districts in Kinshasa. These areas are critical hubs for both residential and commercial power supply. I learned to identify signs of wear on insulators, corrosion on transmission towers, and vegetation encroachment that could lead to short circuits.

In DR Congo Kinshasa, the tropical climate accelerates equipment degradation due to humidity and heat. I assisted senior engineers in measuring insulation resistance using megohmmeters and analyzing load currents to prevent overloading transformers. This hands-on experience reinforced my understanding of three-phase power systems and the importance of regular preventive maintenance.

### B. Substation Maintenance

Another key aspect of my training involved working within local substations. As an Electrical Engineer, I was introduced to the operational logic of step-down transformers that convert high-voltage transmission lines into usable low-voltage for consumers in Kinshasa. I participated in routine checks of switchgear, circuit breakers, and protection relays.

We conducted load testing on several distribution transformers to monitor temperature rise and efficiency. In DR Congo Kinshasa, transformer failures are a common cause of blackouts; therefore, understanding thermal management and oil quality analysis was crucial. I learned how to interpret dissolved gas analysis reports to predict potential faults before they occurred.

### C. Renewable Energy Integration Projects

A fascinating aspect of my internship as an Electrical Engineer was the pilot project exploring solar hybrid systems for remote areas in DR Congo Kinshasa. Due to the unreliability of the central grid, there is a growing push towards decentralized energy solutions. I assisted in designing simple photovoltaic arrays intended to power community centers.

This experience highlighted the versatility required of an Electrical Engineer today. It is no longer sufficient to focus solely on traditional AC/DC distribution; one must also understand inverters, battery storage systems, and MPPT (Maximum Power Point Tracking) controllers. This exposure was invaluable for my career development in the modern energy landscape.

# IV. Challenges Encountered

The environment of an Electrical Engineer internship in DR Congo Kinshasa is not without its difficulties. Infrastructure instability often leads to sudden power outages, complicating sensitive diagnostic work. Furthermore, safety standards can sometimes be compromised due to resource limitations. I had to develop a strong sense of situational awareness and strict adherence to personal protective equipment (PPE) protocols.

Additionally, communication barriers occasionally arose between field technicians who relied on practical experience and the engineering team focused on technical specifications. Learning to bridge this gap through clear, respectful communication was a vital soft skill I developed during my time in Kinshasa.

# V. Conclusion

In conclusion, my internship as an Electrical Engineer in DR Congo Kinshasa has been an profoundly educational experience. It provided me with a realistic perspective on the complexities of maintaining electrical infrastructure in a challenging economic and environmental setting. I gained practical skills in network maintenance, substation operations, and renewable energy integration that cannot be fully replicated in a classroom.

The resilience of the local engineering community in DR Congo Kinshasa was inspiring. They demonstrate that with technical expertise and dedication, sustainable power solutions can be developed even under difficult circumstances. This internship has solidified my passion for electrical engineering and prepared me to contribute effectively to the energy sector in the Democratic Republic of Congo upon graduation.

Intern Engineer:


__________________________
Name: [Your Name]

School Supervisor:


__________________________Name: Dr. Academician
University of Kinshasa (UNIKIN)