# Internship Report: Electrical Engineering in Tanzania Dar es Salaam

# INTERNSHIP REPORT

Degree Program: Bachelor of Science in Electrical Engineering

Institution:

Date Submission:**October 2023
**Location:** Tanzania, Dar es Salaam

# 1. Executive Summary

This report details the comprehensive internship experience undertaken by the undersigned as a prospective Electrical Engineer in Tanzania, Dar es Salaam. The primary objective of this industrial attachment was to bridge the gap between theoretical academic knowledge acquired in university lecture halls and practical application within the dynamic infrastructure sector of Tanzania's economic capital. Spanning over six months, this internship provided invaluable exposure to power distribution systems, renewable energy integration projects, and industrial electrical maintenance protocols. The bustling urban environment of Dar es Salaam presented unique challenges regarding load management and grid stability, offering a critical learning ground for any aspiring engineer dedicated to serving the Tanzanian energy sector.

# 2. Introduction

The role of an Electrical Engineer is pivotal in the development and sustainability of national infrastructure. In Tanzania, particularly in Dar es Salaam, rapid urbanization has placed immense pressure on the existing electrical grid. This internship was structured to provide trainees with hands-on experience in maintaining power integrity, ensuring safety standards compliance, and contributing to modernization efforts within the local distribution network. The specific context of Dar es Salaam serves as a microcosm of broader challenges facing East African urban centers: balancing rapid growth with reliable energy supply.

# 3. Organization Profile

The internship was conducted at a major utility provider operating in Tanzania, Dar es Salaam, which is responsible for the transmission and distribution of electricity to millions of residents and businesses. The organization plays a critical role in implementing government policies related to energy access and reliability. The work environment is highly regulated, adhering strictly to the National Energy Policy of Tanzania. Departments involved included Transmission Operations, Distribution Maintenance, Renewable Energy Integration, and Customer Technical Services.

# 4. Objectives of the Internship

The specific objectives assigned during this internship period were as follows:

- To understand the operational mechanics of high-voltage and low-voltage distribution networks in Tanzania, Dar es Salaam.

- To assist senior Electrical Engineers in diagnosing faults within industrial and residential power systems.

- To document technical reports on power quality issues prevalent in the Dar es Salaam grid, such as voltage fluctuations and frequency deviations.

# 5. Scope of Work

The scope of work was extensive and varied depending on the department rotations. Initially, the focus was on safety induction, which is paramount in any engineering role within Tanzania. Trainees were educated on personal protective equipment (PPE) usage, lockout-tagout (LOTO) procedures, and emergency response protocols specific to electrical hazards.

### 5.1 Power Distribution Maintenance

A significant portion of time was spent in the field with maintenance crews across various districts of Dar es Salaam. This involved inspecting transformers, replacing faulty isolators, and troubleshooting cable faults. The hot and humid climate typical of Tanzania Dar es Salaam presents unique challenges for equipment longevity, leading to accelerated wear on insulation materials. Learning to identify early signs of thermal degradation was a key technical skill acquired during this phase.

### 5.2 Renewable Energy Integration

Dar es Salaam is increasingly turning towards renewable sources to alleviate grid pressure. As part of the internship, I assisted in the design and monitoring of small-scale solar installations for commercial buildings in Kinondoni Municipality. This involved calculating load requirements, sizing battery storage systems, and configuring inverters to interface seamlessly with the national grid. This experience highlighted the critical role Electrical Engineers play in diversifying Tanzania's energy mix.

### 5.3 Industrial Power Systems

In the industrial sector, exposure included maintenance of large motors, variable frequency drives (VFDs), and power factor correction units in manufacturing plants. Understanding the harmonic distortions caused by non-linear loads was crucial for maintaining power quality in Tanzania's growing industrial zones.

# 6. Challenges Encountered

The internship was not without its difficulties. One major challenge was the variability of data availability regarding historical fault records in certain older substations in Dar es Salaam. Additionally, navigating the logistical complexities of accessing remote distribution points during the rainy season required adaptability and strong problem-solving skills as an Electrical Engineer. Furthermore, communicating technical concepts to non-technical stakeholders required effective interpersonal skills.

# 7. Skills Acquired

This internship significantly enhanced my professional competencies. Technical skills included proficiency in SCADA (Supervisory Control and Data Acquisition) systems, circuit breaker testing, and thermal imaging analysis for hot spots in electrical connections. Soft skills such as teamwork, time management under pressure, and technical reporting were also refined. Most importantly, I gained a deep appreciation for the socio-economic impact of reliable electricity on the daily lives of citizens in Tanzania.

# 8. Conclusion and Recommendations

In conclusion, this internship was an instrumental part of my journey to becoming a competent Electrical Engineer. The practical experience gained in Tanzania Dar es Salaam has prepared me to contribute effectively to the national energy sector upon graduation. I recommend that future interns be provided with earlier access to simulation software before field work begins, as this would enhance their ability to understand system dynamics on-site.

Furthermore, it is recommended that more emphasis be placed on rural electrification strategies within the internship curriculum, as the principles learned in Dar es Salaam's urban grid can be adapted for rural distribution challenges. The dedication and mentorship received from senior staff were invaluable.

Report Prepared By:
[Your Name]
Electrical Engineering Intern

Date:** October 31, 2023

>

>

>