# Internship Report: Electrician in Philippines Manila

# Internship Report

Name: Juan Dela Cruz

Date of Internship: January 2023 – June 2023

Institution: Philippine Institute of Industrial Electricians Training Center

Mentor Company: Metro Manila Power Solutions Inc.

## I. Executive Summary

This document serves as a comprehensive Internship Report detailing the practical experiences, technical learnings, and professional developments acquired during a six-month tenure as an Electrician intern in the bustling metropolis of Philippines Manila. The primary objective of this internship was to bridge the gap between theoretical knowledge acquired in academic settings and the real-world application required in residential, commercial, and industrial electrical installations within one of Asia’s most dynamic urban centers. By observing local codes specific to Philippines Manila regulations and working alongside seasoned professionals, this report outlines the critical skills developed regarding safety protocols, wiring techniques, troubleshooting methods, and client interaction.

## II. Introduction

The role of an Electrician is pivotal in maintaining the infrastructure that supports modern life. In Philippines Manila, a city characterized by high-density living and rapid urbanization, the demand for competent electrical technicians is ever-growing. This internship was conducted with Metro Manila Power Solutions Inc., a reputable firm specializing in retrofitting older buildings and installing new systems for mixed-use developments.

The significance of this Internship Report lies not only in documenting tasks performed but also in highlighting the unique challenges faced by Electrician interns operating within the specific environmental and regulatory context of Philippines Manila. From navigating extreme heat to adhering to strict National Electrical Code (NEC) adaptations for tropical climates, every aspect of the training contributed significantly to professional growth.

## III. Objectives of the Internship

The core objectives set forth at the beginning of this internship included:

- Mastery of Safety Standards:

- Techical Proficiency: To gain hands-on experience in reading blueprints, installing conduits, terminating wires, and testing circuits.

- Navigating Local Regulations:

- Professional Conduct: To develop soft skills such as communication with clients and teamwork within diverse crews.

## IV. Duties and Responsibilities

During the course of the internship, my responsibilities evolved from observation to active participation. As an Electrician intern in Philippines Manila, daily tasks included:

### A. Installation and Maintenance

I assisted senior electricians in pulling wires through conduits for both residential apartments and small commercial spaces. A significant portion of my work involved installing light fixtures, switches, and outlets. In the humid climate of Philippines Manila, ensuring proper sealing of junction boxes was crucial to prevent moisture ingress and short circuits. I learned how to properly strip wires, use wire nuts or wago connectors efficiently, and ensure tight connections to prevent arcing.

### B. Troubleshooting and Diagnostics

One of the most educational aspects was troubleshooting faulty systems. Many buildings in the older districts of Philippines Manila have aging electrical infrastructure. I learned to use multimeters and clamp meters to diagnose issues such as voltage drops, open circuits, and ground faults. Under supervision, I helped identify overloaded circuits that frequently tripped during peak hours when air conditioning units were running simultaneously.

### C. Compliance and Documentation

Part of the Electrician's duty involves ensuring compliance with local permits. I assisted in preparing documentation for electrical inspection certificates required by the city government of Philippines Manila. This experience taught me the importance of accuracy in technical drawings and bill-of-materials preparation.

## V. Key Learnings and Technical Skills

This Internship Report highlights several critical skills acquired:

- Safety First Mentality: In the electrician trade, safety is non-negotiable. I learned the proper use of Personal Protective Equipment (PPE), including insulated gloves and safety glasses. We conducted weekly safety briefings discussing recent incidents in Philippines Manila to reinforce vigilance.

- Code Compliance: The National Electrical Code (NEC) adapted for Philippine conditions was a constant reference. Understanding wire gauge selections based on load calculations was vital, especially for heavy appliances common in Filipino households.

- Tool Proficiency: I became proficient in using both hand tools and power tools, including conduit benders, fish tapes, and drywall saws. Knowing which tool to use for specific tasks increased efficiency significantly.

- Cultural Adaptability: Working in Philippines Manila exposed me to a diverse workforce. Learning to communicate effectively with workers from different regions of the archipelago improved my interpersonal skills and teamwork abilities.

## VI. Challenges Encountered

The internship was not without its challenges. The tropical climate of Philippines Manila posed physical demands, particularly when working in attics or confined spaces without adequate ventilation. Additionally, coordinating schedules with clients who had busy professional lives required patience and flexible working hours. Another challenge was navigating the bureaucratic process for obtaining electrical permits in densely populated urban areas of Philippines Manila, which required meticulous attention to detail.

## VII. Conclusion

In conclusion, this internship has been an invaluable experience that has transformed my understanding of the electrician profession. It provided a robust foundation in technical skills while instilling a deep respect for safety and regulatory compliance. The environment of Philippines Manila, with its unique architectural and infrastructural characteristics, offered a rich learning ground that cannot be replicated in a classroom setting.

The knowledge gained regarding electrical systems, combined with the soft skills developed through client interactions and team collaboration, has prepared me well for a future career as a licensed electrician. I am grateful for the mentorship received and look forward to applying these lessons in contributing to the safety and efficiency of electrical infrastructure in our community.

## VIII. Acknowledgement

I would like to extend my sincere gratitude to Mr. Jose Reyes, my site supervisor, for his guidance and patience. I also thank the entire team at Metro Manila Power Solutions Inc. for welcoming me into their crew and sharing their expertise during this Internship Report period in Philippines Manila.