# Internship Report: Electrical Installation and Maintenance in Tanzania, Dar es Salaam

Name: John Doe

Date: October 25, 2023

Institution/Company: Dar es Salaam Electrical Solutions Ltd.

# Internship Report: Electrician Training and Practical Experience in Tanzania, Dar es Salaam

## 1. Introduction and Executive Summary

This report details the comprehensive internship experience undertaken as an aspiring Electrician within the bustling commercial and residential hub of Tanzania, specifically in Dar es Salaam. The primary objective of this internship was to bridge the gap between theoretical academic knowledge in electrical engineering and practical, on-site application required by the local industry standards. Dar es Salaam, as the economic capital of Tanzania, presents a unique environment for electrical work due to its rapid urbanization, mixed infrastructure landscapes ranging from colonial-era buildings to modern high-rises in areas like Masaki and Oyster Bay.

The internship lasted for six months at a reputable local firm specializing in industrial and residential wiring. The report outlines the specific tasks performed, challenges encountered within the Tanzanian context, safety protocols adhered to under the Energy and Water Utilities Regulatory Authority (EWURA) guidelines, and personal professional development gained during this critical period of training.

## 2. Objectives of the Internship

The core objectives of this internship were structured to ensure competency in several key areas relevant to the role of an Electrician:

- To gain hands-on experience in installing, maintaining, and repairing electrical systems typical of Tanzanian infrastructure.

- To understand the specific regulatory frameworks governing electrical installations in Tanzania, particularly within Dar es Salaam.

- To learn proper troubleshooting techniques for voltage fluctuations common in the local grid supply provided by TANESCO (Tanzania Electric Supply Company).

- To develop soft skills, including client communication and teamwork, essential for working in a multicultural service environment.

## 3. Scope of Work and Activities Performed

The daily routine of an intern Electrician in Dar es Salaam involves a diverse range of activities. The following sections detail the specific technical tasks executed:

### 3.1 Residential and Commercial Wiring

A significant portion of the internship involved working on residential projects across neighborhoods such as Kariakoo, Ilala, and Kinondoni. Tasks included reading architectural blueprints to determine optimal cable routing, cutting and bending conduit pipes (both PVC and metal), and pulling wires through ceilings and walls. Special attention was given to load balancing in three-phase systems for larger commercial buildings.

### 3.2 Fault Finding and Repair

Tanzania’s power grid can experience intermittent fluctuations, leading to frequent appliance failures. As part of the training, I assisted senior technicians in diagnosing short circuits, open grounds, and leakage faults using multimeters and insulation resistance testers (Meggers). This hands-on troubleshooting was crucial for understanding how to restore power safely and efficiently.

### 3.3 Solar Power Integration

In recent years, Dar es Salaam has seen a surge in solar energy adoption due to cost-saving measures and reliability concerns. A vital aspect of this internship was training in the installation of off-grid solar systems. This included mounting panels on rooftops common to Tanzanian architecture, wiring charge controllers, setting up battery banks using deep-cycle lead-acid batteries, and installing inverters capable of handling local voltage spikes.

## 4. Challenges Encountered in the Dar es Salaam Context

Navigating the electrical landscape in Tanzania, particularly in Dar es Salaam, presented unique challenges that shaped my professional growth:

Voltage Instability: Fluctuations in voltage are common. Protecting sensitive equipment required the installation of surge protectors and stabilizers. Learning to select appropriate ratings for these components based on local grid behavior was a critical learning point.

Cultural and Communication Dynamics: Working with diverse clients required adaptability. While Swahili is the national language, English remains the business language. Clear communication about technical issues and costs was essential to build trust with clients in both high-end neighborhoods like Masaki and denser urban centers.

Safety Standards: Adhering to strict safety protocols in older buildings where previous wiring may have been non-compliant was difficult but necessary. It required patience and firm adherence to safety procedures, such as Lockout/Tagout (LOTO) systems, even when clients requested quick fixes.

## 5. Skills and Competencies Acquired

This internship has significantly enhanced my technical and professional capabilities as an aspiring Electrician:

- Technical Proficiency: Mastery in reading single-line diagrams, proper termination of cables, and the use of advanced diagnostic tools.

- Solar Competence: Practical skills in designing and installing hybrid solar systems tailored for the Tanzanian market.

- Safety Awareness: Deep understanding of personal protective equipment (PPE) requirements and emergency response procedures in electrical accidents.

- Navigational Skills:

- Able to navigate the specific logistical challenges of Dar es Salaam, including traffic constraints affecting material transport and site access.

## 6. Conclusion and Recommendations

The internship as an Electrician in Tanzania, Dar es Salaam, has been an invaluable experience. It provided a realistic view of the electrical industry’s demands and the importance of reliability in service delivery. The rapid modernization of Dar es Salaam offers vast opportunities for qualified electricians who can handle both traditional grid connections and renewable energy systems.

I recommend that future interns focus heavily on solar technology training, as this is a growing sector in Tanzania. Furthermore, developing strong customer service skills alongside technical expertise is crucial for success in Dar es Salaam’s competitive market. This internship has not only met the educational requirements of my curriculum but has also prepared me for a professional career dedicated to ensuring safe and reliable electrical infrastructure in Tanzania.

## 7. Acknowledgments

I would like to express my sincere gratitude to the management of Dar es Salaam Electrical Solutions Ltd. for providing this opportunity. Special thanks to my supervisor, Eng. Juma Mwangi, for his mentorship and guidance throughout this internship period.