# Internship Report: Plumber - DR Congo Kinshasa

# Internship Report: Plumber
DR Congo Kinshasa

Name: [Intern Name]

>.
>.

Date: October 24, 2023

>.
>.

Institution/Organization: Technical Training Institute of Kinshasa

>.
>.

Supervising Company: AquaSoleil Solutions DR Congo Kinshasa

>.
>.

Duration: 3 Months (July – September 2023)

>

>>

This Internship Report provides a comprehensive account of my three-month practical training as a Plumber within the Republic of DR Congo Kinshasa. The primary objective of this internship was to bridge the gap between theoretical knowledge acquired in academic settings and the practical realities faced by plumbing professionals in one of Africa's most populous and rapidly urbanizing cities. Kinshasa, situated on the banks of the mighty Congo River, presents unique challenges regarding water supply, sanitation infrastructure, and waste management. Consequently, understanding local plumbing practices in DR Congo Kinshasa is not merely an academic exercise but a necessity for public health and sustainable urban development.

>

Plumbing in Kinshasa differs significantly from standards observed in Europe or North America. The infrastructure often relies on a mix of modern piping systems and improvisational solutions due to intermittent water supply and power outages. This report details the technical skills acquired, the social dynamics of working as a Plumber in this region, and the specific challenges encountered while maintaining hydraulic systems in DR Congo Kinshasa.

>

## 2. Objectives of the Internship

>>

- To master installation techniques for potable water systems suitable for residential buildings in DR Congo Kinshasa.

- To learn effective troubleshooting methods for common plumbing failures prevalent in the region's aging infrastructure.

- >.

- To understand the integration of alternative water storage solutions, such as rooftop tanks and boreholes, which are critical in Kinshasa.

- >.

- To gain proficiency in using local materials and tools available in DR Congo Kinshasa markets.

- >

>>

## 3. Technical Activities and Responsibilities

>>

### 3.1 Installation of Water Supply Systems

>> <

>During the first month, my primary role as a Plumber involved the installation of cold water supply lines in new construction sites across various communes of Kinshasa, such as Limete and Bandalungwa. I learned to work with PVC and PPR (Polypropylene Random Copolymer) pipes, which are increasingly favored in DR Congo Kinshasa for their durability and ease of jointing using heat fusion techniques. Unlike traditional lead or iron pipes used decades ago, these modern materials require specific skills in heating tools and precise cutting.

>

I assisted senior technicians in sizing pipe diameters correctly to ensure adequate pressure reaches upper floors, a crucial consideration given that many buildings in Kinshasa lack centralized pressure pumps. Instead, reliance on gravity-fed systems from rooftop tanks is common. My tasks included measuring, cutting, and joining pipes while ensuring leak-free connections. I also learned how to install isolation valves strategically throughout the system to allow for maintenance without disrupting the entire building's water supply.

>

### 3.2 Drainage and Sanitation Infrastructure

>> <

The second month focused on drainage systems, which are particularly challenging in DR Congo Kinshasa due to frequent heavy rains and occasional flooding in certain districts. As a Plumber, I was responsible for inspecting and clearing blocked sewer lines using manual augers and basic jetting equipment. We also installed new soil pipes for bathroom renovations.

>

One significant aspect of my internship was learning about venting systems. In many older homes in Kinshasa, poor ventilation leads to siphoning of water traps, allowing sewage gases to enter living spaces. I helped install air admittance valves and improved vertical vent stacks to ensure proper airflow. This experience highlighted the importance of hygienic design in preventing waterborne diseases, a major public health concern in densely populated areas of DR Congo Kinshasa.

>

### 3.3 Water Storage and Pumping Solutions

>> <

Given the unreliable nature of national water distribution services (SONAE) in DR Congo Kinshasa, almost every household relies on private water solutions. As part of my Plumber training, I gained extensive experience installing and maintaining electric submersible pumps for boreholes and large-capacity storage tanks.

>

I learned to wire float switches automatically control pump operation based on water levels in overhead tanks. This required basic electrical knowledge alongside plumbing skills. We also installed solar-powered pump systems, a growing trend in DR Congo Kinshasa due to frequent electricity cuts. Understanding the integration of hydraulic and solar components was a valuable addition to my technical repertoire.

>

## 4. Challenges Encountered in DR Congo Kinshasa

>> <

>Working as a Plumber in this context presented several distinct challenges:

>

- Access to Materials: Finding specific fittings and high-quality pipes can be difficult in certain parts of Kinshasa. We often had to source materials from central markets like Marché Central, requiring negotiation skills and knowledge of authentic vs. counterfeit products.

- > <

- Tool Limitations: Advanced diagnostic tools are scarce. Plumbers in DR Congo Kinshasa must rely heavily on experience, visual inspection, and basic mechanical tools to locate leaks or blockages.

- >

- Climatic Conditions: High humidity and temperature can affect material longevity. I learned how to properly insulate pipes in specific areas to prevent condensation damage or bacterial growth.

- >.

- Community Interaction: As a Plumber, I had to communicate effectively with clients who often had limited technical knowledge. Explaining the necessity of proper venting or pressure regulation required patience and clear, non-technical language.

- >

>> >> <

>This internship significantly enhanced my professional capabilities:

> <

- Proficiency in reading and interpreting plumbing blueprints adapted for local construction standards in DR Congo Kinshasa.

- >.

- Mastery of PVC, PPR, and HDPE pipe joining techniques.

- >.

- Ability to diagnose and repair common issues such as dripping faucets, running toilets, and low water pressure.

- > <

- Competence in installing water filtration systems to address quality concerns associated with tap water in Kinshasa.

- >

- Enhanced problem-solving skills under resource-constrained conditions typical of the DR Congo Kinshasa market.

- >.

>> >> <

>The internship as a Plumber in DR Congo Kinshasa has been an invaluable experience. It provided a realistic insight into the technical, social, and economic dimensions of plumbing work in a developing urban environment. I emerged from this training with not only improved technical skills but also a deeper appreciation for the role that clean water infrastructure plays in improving quality of life.

> <

>For future interns and students interested in pursuing careers as Plumbers in DR Congo Kinshasa, I recommend gaining proficiency in basic electrical wiring, as modern plumbing systems are increasingly integrated with electric pumps and heaters. Additionally, understanding solar energy applications is becoming essential due to the energy challenges faced by the region.

> <

>In conclusion, this internship has fulfilled its objectives by preparing me for a professional career in the plumbing sector of DR Congo Kinshasa. I am now better equipped to contribute to sustainable water solutions and infrastructure development in my community.

>

End of Report

>. <

Signature: __________________________

>.

>>

>>

>>