# Peer Review Report: Architectural Practice in Qatar Doha

# Peer Review Report: Architectural Design and Compliance

Project Location: Doha, Qatar

Review Date: October 24, 2023

Subject: Evaluation of Architectural Submission

Regulatory Body: Qatar Professional Engineers Association (QPEA) / Municipality

## 1. Executive Summary

This Peer Review Report has been prepared to evaluate the architectural design submission for a proposed mixed-use development located in the heart of Qatar Doha. The primary objective of this review is to ensure that the Architect has adhered to the stringent regulatory frameworks, cultural sensitivities, and environmental standards mandated by the State of Qatar. The review assesses the design's alignment with the Qatar National Vision 2030, specifically focusing on urban sustainability, heritage preservation, and high-performance building standards.

The Architect has demonstrated a strong conceptual understanding of the site context within Doha’s rapidly evolving skyline. However, this report identifies specific areas requiring refinement to ensure full compliance with the Qatar Building Code (QBC) and the guidelines set forth by the Supreme Committee for Delivery & Legacy.

## 2. Regulatory Compliance and Code Adherence

A critical component of any Peer Review Report in this jurisdiction is the verification of code compliance. The Architect must ensure that the design strictly follows the Qatar Building Code. The review highlights the following observations:

- Fire and Life Safety: The egress routes and stairwell configurations generally meet the requirements. However, the separation distances between the proposed structure and adjacent properties in this dense area of Qatar Doha require recalculation to ensure adequate fire separation as per QBC Section 7.

- Accessibility: The design incorporates universal access principles. The Architect has correctly applied the standards for ramps and elevator dimensions, ensuring the building is accessible to persons with disabilities, a key requirement for public buildings in Doha.

- Structural Integration: While primarily an architectural review, the interface between the architectural envelope and the structural grid appears logical, facilitating efficient construction methods suitable for the local market.

## 3. Environmental Sustainability and ASHRAE 90.1

Given the extreme climatic conditions of Qatar Doha, energy efficiency is not merely a recommendation but a regulatory necessity. The Architect is required to design in accordance with ASHRAE Standard 90.1, adapted for the Gulf region.

The Peer Review Report notes that the building envelope specifications are robust. The use of high-performance glazing and external shading devices is commendable. However, the solar heat gain coefficient (SHGC) values for the west-facing facades need optimization. The Architect should consider integrating deeper brise-soleil elements or dynamic shading systems to mitigate the intense afternoon sun typical of Doha, thereby reducing the cooling load on the HVAC systems.

Furthermore, the design should align with the Estidama Pearl Rating System principles, even if not explicitly mandated for this specific plot, to ensure the project contributes to the broader sustainability goals of Qatar.

## 4. Cultural Context and Urban Design

Architecture in Qatar Doha must strike a delicate balance between modernity and tradition. The Architect has attempted to reflect local vernacular through the use of geometric patterns in the facade cladding. This approach is positive and respects the cultural identity of the region.

However, the Peer Review Report suggests that the ground floor activation needs improvement. In Doha, the street level is vital for social interaction. The current design presents a solid wall to the main pedestrian thoroughfare. The Architect is advised to introduce permeable retail fronts or shaded public seating areas to enhance the pedestrian experience and align with the urban design guidelines of the Doha Municipality.

## 5. Technical Documentation Quality

The quality of the submission drawings is a reflection of the Architect's professionalism. The plans, sections, and elevations are generally clear and well-annotated. However, discrepancies were noted between the reflected ceiling plans and the structural beam levels in the lobby area. The Architect must resolve these clashes prior to the issuance of construction documents to avoid costly delays on site.

Additionally, the material specifications should be cross-referenced with locally available materials in Qatar to ensure constructability and cost-effectiveness.

## 6. Conclusion and Recommendations

In conclusion, this Peer Review Report finds that the Architect has produced a design that is largely compliant with the regulatory and environmental standards of Qatar Doha. The project shows promise in contributing to the city's architectural landscape.

The review is Conditionally Approved, subject to the following actions by the Architect:

- Revise the facade shading strategy for west-facing elevations to meet energy efficiency targets.

- Redesign the ground floor facade to improve street-level activation and pedestrian permeability.

- Resolve discrepancies between architectural and structural levels in the lobby.

- Provide a detailed fire safety strategy report confirming compliance with QBC.

Upon satisfactory resolution of these points, the design will be deemed ready for the next stage of approval.

Reviewed By:
Senior Review Architect
Qatar Professional Engineers Association (QPEA)

Submitted By:
Lead Architect
[Architect Firm Name]