# Quotation Estimate - Electrician Services - Kuwait Kuwait City

# QUOTATION ESTIMATE

## Professional Electrician Services — Kuwait, Kuwait City

Al-Nakheel Electrical Contracting W.L.L.

| Quotation Estimate No.: | KE-2025-04871 |
| --- | --- |
| Date of Issue: | 14 June 2025 |
| Valid Until: | 14 July 2025 (30 calendar days) |
| Prepared By: | Eng. Salem Al-Mutawa — Senior Electrician & Project Supervisor |
| Client Name: | Mr. Faisal Al-Rashidi |
| Client Address: | Block 7, Street 12, House 45, Salmiya, Kuwait, Kuwait City |
| Project Location: | Residential Villa, Salmiya District, Kuwait, Kuwait City |
| Contact Phone: | +965 9781 2345 |
| Email: | quotes@alnakheel-electrical.kw |

### 1. Scope of Work — Electrician Services in Kuwait, Kuwait City

This Quotation Estimate is issued by Al-Nakheel Electrical Contracting W.L.L., a licensed and registered Electrician firm operating throughout Kuwait, Kuwait City and its surrounding governorates. The scope of work outlined below covers the complete electrical renovation and upgrade of the client's residential villa located in the Salmiya district of Kuwait, Kuwait City. Our team of certified Electrician professionals will perform all tasks in strict compliance with the Kuwait Fire and Civil Defense regulations, the Kuwait Electricity Authority (KEA) standards, and the International Electrotechnical Commission (IEC) guidelines applicable in Kuwait, Kuwait City.

### 2. Itemized Breakdown of the Quotation Estimate

| # | Description of Electrician Work | Qty | Unit (KWD) | Total (KWD) |
| --- | --- | --- | --- | --- |
| 1 | Complete removal and disposal of existing outdated wiring, junction boxes, and circuit breakers throughout the villa (ground floor, first floor, and basement) | 1 Lot | 450.000 | 450.000 |
| 2 | Supply and installation of new 3-core 2.5 mm² copper wiring (KEA-approved) for lighting circuits across all rooms in Kuwait, Kuwait City residence | 320 m | 1.850 | 592.000 |
| 3 | Supply and installation of new 3-core 4.0 mm² copper wiring for power and appliance circuits (kitchen, laundry, air-conditioning units) | 280 m | 2.400 | 672.000 |
| 4 | Installation of a new 63A main distribution board with 24 double-pole MCBs, RCD protection, and surge arrestor, compliant with Kuwait, Kuwait City electrical codes | 1 Unit | 385.000 | 385.000 |
| 5 | Supply and installation of 48 recessed LED downlights, 12 wall-mounted switches, and 24 standard 13A socket outlets (Schneider Electric or equivalent) | 1 Lot | 720.000 | 720.000 |
| 6 | Installation of 6 dedicated 32A circuits for split-type air-conditioning units (3 bedrooms, living room, study, basement) with individual MCB protection | 6 Circuits | 95.000 | 570.000 |
| 7 | Earthing and bonding system upgrade: installation of 3 new earth electrodes, 16 mm² bonding conductors, and verification of earth resistance below 1 ohm as required in Kuwait, Kuwait City | 1 Lot | 310.000 | 310.000 |
| 8 | Supply and installation of a 5 kVA online UPS system with 4-hour battery backup for the home office and critical data circuits | 1 Unit | 640.000 | 640.000 |
| 9 | Final inspection, thermal imaging scan of all circuits, load balancing, and issuance of the Electrical Installation Certificate (EIC) for Kuwait, Kuwait City municipal approval | 1 Lot | 250.000 | 250.000 |
| 10 | Project supervision, site cleanup, and 12-month workmanship warranty provided by our Electrician team in Kuwait, Kuwait City | 1 Lot | 200.000 | 200.000 |
| Subtotal |  |  |  | 4,789.000 |
| VAT (5% — Kuwait, Kuwait City) |  |  |  | 239.450 |
| TOTAL QUOTATION ESTIMATE AMOUNT |  |  |  | 5,028.450 |

### 3. Payment Terms

The total Quotation Estimate amount of KWD 5,028.450 shall be paid as follows: 40% advance payment upon acceptance of this Quotation Estimate, 40% upon completion of all wiring and distribution board installation, and the remaining 20% upon final handover and delivery of the Electrical Installation Certificate. All payments are to be made in Kuwaiti Dinars (KWD) via bank transfer to the account of Al-Nakheel Electrical Contracting W.L.L., Kuwait, Kuwait City.

### 4. Project Timeline

Our Electrician crew, comprising four licensed technicians and one project supervisor, will commence work within five (5) working days of receiving the advance payment. The estimated duration for the entire project at the Kuwait, Kuwait City site is twelve (12) working days, subject to weather conditions and client availability for access to specific rooms.

### 5. Terms and Conditions

- This Quotation Estimate is valid for thirty (30) days from the date of issue. After the expiry date, all prices are subject to revision based on current material costs in Kuwait, Kuwait City.

- All materials specified in this Quotation Estimate are new, unused, and carry a minimum manufacturer warranty of two (2) years. The Electrician workmanship warranty is twelve (12) months from the date of final acceptance.

- The client is responsible for obtaining any necessary municipal or KEA permits prior to the commencement of work in Kuwait, Kuwait City. Our firm will provide all technical documentation required for such applications.

- Any additional work not explicitly listed in this Quotation Estimate will be quoted separately in writing and shall not commence until the client provides written approval.

- Our Electrician team will observe all health and safety protocols mandated by the Ministry of Labour in Kuwait, Kuwait City. The site will be secured and cleaned at the end of each working day.

- This Quotation Estimate does not include the cost of structural modifications, plastering, or painting. Any such ancillary work will be coordinated with the client's general contractor.

- Disputes arising from this Quotation Estimate shall be resolved under the laws of the State of Kuwait, with jurisdiction vested in the courts of Kuwait, Kuwait City.

### 6. Acceptance and Authorization

By signing below, the client acknowledges and accepts all terms, conditions, and pricing outlined in this Quotation Estimate for Electrician services to be performed in Kuwait, Kuwait City. This signature constitutes a binding agreement between both parties.

Client Signature & Date

Mr. Faisal Al-Rashidi

Authorized Representative — Al-Nakheel Electrical Contracting W.L.L.

Eng. Salem Al-Mutawa — Senior Electrician

Al-Nakheel Electrical Contracting W.L.L. • Commercial Area 4, Street 21, Kuwait, Kuwait City • CR: 123456 • KEA License No. EL-2019-0874

This Quotation Estimate document was generated electronically and is valid without a physical stamp. © 2025 Al-Nakheel Electrical Contracting W.L.L. All rights reserved.