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QUOTATION ESTIMATE
Professional Electrician Services — Philippines Manila
Official Estimate
Service Provider
Manila Volt Electrician Services Inc.
Unit 1204, 12th Floor, Ayala Center
Makati City, Philippines Manila 1226
Tel: +63 (2) 8881-4567
Email: estimates@manilavolt.ph
DTI Reg. No. 201912345678
BOC License No. EL-2020-004521
Client Information
Prepared For:
Mr. Ricardo S. Dela Cruz
Unit 8B, 8th Floor, Greenfield Residences
1565 Makati Avenue, Philippines Manila 1226
Tel: +63 917 555 0123
Email: r.delacruz@email.com
	Quotation Estimate No.:
	MVE-2025-00847
	Date Issued:
	June 12, 2025

	Valid Until:
	July 12, 2025 (30 days)
	Project Location:
	Philippines Manila, NCR

	Payment Terms:
	50% Down Payment / 50% Upon Completion
	Currency:
	Philippine Peso (PHP)


Scope of Work & Line Items
This Quotation Estimate is issued by Manila Volt Electrician Services Inc. for the comprehensive electrical installation, inspection, and maintenance work to be performed at the client's residential unit located in Philippines Manila. The following Electrician services have been assessed based on a site survey conducted on June 5, 2025, and are itemized below for the client's review and approval.
	No.
	Description of Electrician Service
	Qty
	Unit
	Unit Price (PHP)
	Amount (PHP)

	1
	Complete electrical panel inspection and load balancing for the residential unit, including identification of overloaded circuits and recommendation of upgrades per Philippine Electrical Code (PEC) 2017.
	1
	Lot
	12,500.00
	12,500.00

	2
	Replacement of existing 20-amp main service breaker with a 60-amp main breaker, including new copper service entrance cable (10 AWG) from the Meralco meter base to the distribution panel.
	1
	Lot
	18,750.00
	18,750.00

	3
	Installation of new 12-circuit distribution panel with individual branch circuit breakers (15A and 20A) to replace the existing 6-circuit panel. Includes all necessary mounting hardware and grounding bar.
	1
	Lot
	24,300.00
	24,300.00

	4
	Wiring replacement for all rooms (living room, two bedrooms, kitchen, two bathrooms, and hallway). Includes removal of old Romex cable, installation of new 14 AWG and 12 AWG THHN copper wire in PVC conduit, and termination at all outlets and switches.
	1
	Lot
	85,000.00
	85,000.00

	5
	Installation of new duplex grounded outlets (20-amp) and single/double toggle switches throughout the unit. Total of 28 outlets and 14 switches, all UL-listed and PSC-certified.
	42
	pcs
	850.00
	35,700.00

	6
	Installation of LED lighting fixtures: 6 recessed downlights (living room and bedrooms), 2 kitchen under-cabinet light strips, 2 bathroom vanity lights, and 1 hallway ceiling fixture. Includes all wiring and junction boxes.
	1
	Lot
	32,400.00
	32,400.00

	7
	Dedicated 20-amp circuit installation for kitchen appliances (refrigerator, microwave, and dishwasher) with GFCI-protected outlets. Includes 12 AWG copper wiring in separate conduit run.
	1
	Lot
	14,200.00
	14,200.00

	8
	Grounding and bonding system upgrade: installation of new ground rod (6 ft copper-clad steel), 6 AWG ground wire from panel to rod, and bonding of all metallic piping and conduit per PEC requirements.
	1
	Lot
	9,800.00
	9,800.00

	9
	Surge protection device (SPD) installation at the main distribution panel (Type 2, 40kA) to protect sensitive electronics from voltage spikes common in the Philippines Manila power grid.
	1
	Lot
	7,650.00
	7,650.00

	10
	Final inspection, load testing, and submission of as-built electrical drawings to the client. Includes coordination with Meralco for service reconnection and issuance of Electrical Inspection Certificate (EIC) from the local Barangay and City Engineering Office in Philippines Manila.
	1
	Lot
	8,500.00
	8,500.00


	Subtotal
	PHP 252,800.00

	VAT (12%)
	PHP 30,336.00

	Permit & Inspection Fees (Philippines Manila)
	PHP 5,200.00

	TOTAL AMOUNT DUE
	PHP 288,336.00


Terms and Conditions
1. This Quotation Estimate is valid for thirty (30) calendar days from the date of issuance. Prices are subject to change after the validity period due to fluctuations in material costs in the Philippines Manila market.
1. A fifty percent (50%) down payment of PHP 144,168.00 is required upon acceptance of this Quotation Estimate to schedule the Electrician crew and procure materials. The remaining fifty percent (50%) shall be due upon satisfactory completion and final inspection.
1. All work performed by our licensed Electrician team shall comply with the Philippine Electrical Code (PEC) 2017, National Building Code of the Philippines, and all applicable local ordinances of the City of Manila, Philippines Manila.
1. The project timeline is estimated at eight (8) to ten (10) working days from the date of down payment receipt, subject to material availability and Meralco coordination schedules in the Philippines Manila service area.
1. All materials used shall be new, PSC-certified, and UL-listed. The client reserves the right to inspect materials prior to installation. Any premium brand substitutions must be approved in writing by the client.
1. This Quotation Estimate includes a one-year (12-month) workmanship warranty on all Electrician labor performed. Material warranties are governed by the respective manufacturers and are passed through to the client.
1. Any additional work or changes requested by the client beyond the scope described herein shall be subject to a separate Quotation Estimate and written approval before execution.
1. Payment may be made via bank transfer to BDO Unibank, A/C No. 1234-5678-901, in the name of Manila Volt Electrician Services Inc., or via check payable to the same.
1. This Quotation Estimate does not constitute a binding contract until signed and countersigned by both parties. Upon signature, it shall serve as the governing document for the scope, pricing, and terms of the Electrician services to be rendered in Philippines Manila.
Acceptance and Authorization
Prepared by (Service Provider):
Engr. Jose M. Tan
Licensed Electrical Engineer, PRC Reg. No. 123456
Manila Volt Electrician Services Inc.
Signature: ___________________________
Date: ___________________________
Accepted by (Client):
Mr. Ricardo S. Dela Cruz
Client / Property Owner
Philippines Manila
Signature: ___________________________
Date: ___________________________
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